%N atwvr

%D Correct phases using WVR data

%P rjs

%: uv analysis

%B

ATWVR applies phase corrections derived from WVR measurements

%A vis

The input visibility file to correct. No default.

%A out

The output corrected file. No default.

%A wvrphase

A text file containing the phase corrections.

Format : time (yymmmdd:hh:mm:ss), phase (6x).

Prepending a '-' to the file name will negate the phases.

%A offset

Offset, in seconds, between the recorded values and the data