%N immerge

%D Linear merging of images.

%P rjs

%: map combination

%B

IMMERGE is a Miriad task to linearly merge together two images with

different resolutions. The two images must be of the same field

and use the same coordinate system.

In combining the data, it is assumed that the low resolution

image better represents the short spacing data, whereas the

high resolution best represents the fine structure. Commonly,

the low resolution image will be a single-dish observation,

and the high resolution will be a mosaiced interferometric

observation.

%A in

This gives the two images to be merged. The first input must be

the high resolution image, and the second the low. There is

no default. The two images must be on the same coordinate grid.

If necessary, use REGRID to achieve this.

%A out

The output image. No default.

%A factor

The flux calibration factor. Ideally the two inputs will have

correctly calibrated flux scales, in units like Jy/beam. In this

case, the flux calibration factor would be 1. In practise, the

calibration may not be perfect, and an extra calibration factor

will be required to align the flux scales. "factor" gives the

factor to scale the low resolution image to put it on the same

flux scale as the high resolution image. Note that this factor is

in addition to the scaling needed to convert Jy/beam at a low

resolution to Jy/beam at the high resolution.

If no value is given for "factor", IMMERGE determines this by

comparing the values in the Fourier plane, of data within an

particular annulus (after accounting for the differing resolutions

of the two inputs). IMMERGE finds the scale factor which

minimises differences between the data of the two (in a robust/L1

sense) in the annulus.

%A uvrange

This specifies an annulus, in the Fourier domain, where the

high and low resolution images should agree (after allowing

for resolution differences). This is the annulus of data used to

deduce the flux calibration factor, and with options=feather.

Two or three values can be given. The first two give the inner

and outer radius of the annulus in the Fourier domain. The third

argument gives the units. Possible units are "klambda"

(kilo-wavelengths), "meters", "feet" and "nanoseconds". The default

is "klambda".

Values for "uvrange" must be given either if "options=feather"

is used or if the flux calibration factor is being deduced.

%A region

Region-of-interest parameter. See the help on ``region''

for more information. NOTE: This parameter is ONLY used for

determining the flux calibration factor. Only plane selection

(e.g. via the ``image'' command) is allowed. Typically you would

want to select a range of planes which contains significant signal

in the overlap region.

%A device

PGPLOT device for a plot. When determining the flux calibration

factor, IMMERGE can produce a plot showing the correspondence

between the high and low resolution data points in the annulus

(after correcting for resolution effects and the deduced flux

calibration factor). Ideally it will show a line with "y=x".

The default is not to produce a plot. It also plots the

difference from this "y=x" line as a function of spatial frequency.

%A guard

Before Fourier transforming, the images are padded with a guard

band. "guard" gives one or two values, being the minimum width of

this guard band in pixels, in the x and y directions. The actual

guard band used is such that the size of the image plus guard band

is a power of 2.

%A options

Task enrichment parameters. Several can be given, separated by commas.

Minimum match is used.

normalize  Rather than the output being the merged images, the

output is the low resolution image corrected by

the flux calibration factor.

zero       By default, IMMERGE pads the guard band with data which

minimizes FFT edge effects. If the input images are

really zero beyond the edges of the two input images,

then padding with zeros might be preferable. This is

particularly so if IMMERGE is deducing the flux

calibration scale factor.

feather    This merges the two images together in a fashion similar

to AIPS IMERG. This method is generally less desirable

than the default scheme used by IMMERGE.

shift      Determine the optimum shift to apply to the low

resolution image to make it align with the high

resolution one.

notaper    Normally the low-resolution image is tapered to match any

residual primary beam response in the high-resolution image.

This option causes this step to be skipped.