%N at_moment

%D Calculate moments of a Miriad image.

%P mchw

%: image analysis

%B

MOMENT calculates the nth moment of a Miriad image.  The

spectral axis, which is determined automatically, must be on

axis 1, 2, or 3.  Moments may be computed for other axis types

by specifying the axis number, though the brightness units

recorded in the output image header will likely not be correct.

They can be fixed using PUTHD.

** this is the ATNF version of MOMENT, which was reworked

a lot

%A in

The input image.  No default.

%A region

Region of the input image to be used, only the bounding box is

supported.  See documentation for region on how to specify this.

%A out

The output image.  No default.

%A mom

-3: Velocity at peak intensity using a three-point quadratic fit

around the peak (km/s).

-2: Peak intensity using a three-point quadratic fit (units same

as individual channels).

-1: Average intensity (units same as individual channels).

0: 0th moment = sum(I) (integrated intensity, I x km/s).

1: 1st moment = sum(I*v)/sum(I), (velocity centroid, km/s),

where v is the velocity.

2: 2nd moment = sqrt(sum(I*(v-M1)**2)/sum(I)), (velocity

dispersion, km/s), where M1 is the first

moment.  If the line profile is Gaussian,

this produces a map of Gaussian sigma, and

FWHM = 2*sqrt(2*ln(2))*sigma = 2.355*sigma.

The moments are calculated independently for each pixel

using spectral channels with intensity satisfying the

specified clip range.

For frequency axes the radio velocity is computed from the

line rest frequency recorded in the header.  For velocity

axes the axis scale is used directly.

%A axis

Axis for which the moment is calculated.  Moments may be

computed for non-spectral axes though brightness units recorded

in the output image header will usually be incorrect.  Defaults

to the spectral axis determined from the input image header.

%A clip

Two values.  For mom >= -1, exclude spectral channels with

intensity in the range clip(1) to clip(2) inclusive.  If only

one value is given, then exclude -abs(clip) to +abs(clip).

Default = 0 which excludes nothing.

%A span

For mom >= -1, exclude channels further than the specified

number of channels from the peak, hence using a total of

2*span + 1 channels to compute the moment.  If the peak is too

close to the first or last channel to allow the full span, then

the pixel will be blanked in the output map.  Please bear this

in mind when specifying the channel range (via 'region').

Default = 0 which means no restriction.

%A rngmsk

For mom > 0, mask pixels in the output map when the 1st moment

lies outside the range of the spectral axis.  This can happen

because sum(I) can be arbitrarily small in emission-free

channels but with sum(I*v) non-vanishing.  Default: false.

%A pkmask

Two values.  For mom = -3, 1, and 2 (velocities) mask pixels in

the output map for which the peak intensity lies within the

range pkmask(1) to pkmask(2) exclusive.  If only one value is

given, then mask pixels with peak intensity less than pkmask.

Default = 0.