%N attsys

%D Do various operations with Tsys values.

%P rjs

%: uv analysis

%B

ATTSYS can apply or remove the Tsys weighting from correlation

data, reapply Tsys based on a specified IF, or scale the

the Tsys values (leaving the data unchanged)

%A vis

The names of the input uv data sets. No default.

%A out

The name of the output uv data set. No default.

%A tsysif

The IF numbers used to provide the Tsys correction values.

Multiple values can be specified, one for each spectral window.

E.g., 1,1,3,3 will overwrite the 2nd and 4th set of tsys values

with the 1st and 3rd. This parameter is only used with the redo

option. Default value is 1, which applies the tsys for the 1st

IF to all following IFs.

%A factor

Scale factor to apply to the Tsys values recorded in the data.

This parameter is ignored except if options=scale.

%A options

Extra processing options. Several options can be given,

separated by commas. Minimum match is supported. Possible values

are:

apply     Apply the Tsys correction to the data. This is the

default.

unapply   Undo the Tsys correction in the data. Note that you

cannot use the "apply" and "unapply" options

simultaneously.

auto      Use the "tcorr" variable to determine whether Tsys

has been applied or not.

NOTE: Information needed for options=auto is lost if

you copy or split a dataset. If you are going to use

options=auto, you generally have to do it on the file

resulting from atlod.

redo      Remove the existing Tsys correction from all IFs and

reapply the Tsys from the IFs specified in tsysif.

This can be used for certain CABB observations where

the zoom bands have no valid Tsys information.

This option cannot be combined with the previous ones.

inverse   Apply the inverse correction for redo

scale     Scale the existing tsys values by the value given by

the parameter factor (leaves data unchanged)

nocal     Do not apply the gains file.

nopass    Do not apply bandpass corrections.

nopol     Do not apply polarization corrections.